## Slide 2
Supervised by:
Imran Raza
Co-Supervised By:
Dr. Asad Hussain
Session: 2016-2020
Final Year Project
Smart Rehab
Acknowledgement:
Funded by Higher Education Commission
(HEC)

## Slide 3: Group Members
Imtisal Ahmed
FA16-BCS-045
Arslan Riaz
FA16-BCS-081

## Slide 4: Motion Capture
Motion capture (referred as mo-cap or mocap) is the process of recording the movement of objects or people. It is used in medical application, military and for validation of computer vision and robotics etc.

## Slide 5: Types of Motion Capture
IMU sensor Based
Inertial Measurement Unit (IMU) sensors are a technology capable of estimating orientation of a rigid body so they are largely used as an implementation of real-time motion capture systems to track the location and the body posture of people.
Optical
Optical Motion Capture systems use data acquired from image sensors to localize the 3D position of a subject among multiple cameras which are calibrated to provide overlapping projections.

## Slide 6: Smart Rehab
Smart Rehab
Smart Rehab, an assistive system for Physiotherapists based on motion capture for the rehabilitation of Parkinson's Disease patients. It is a complete desktop application that helps in the identification and rehabilitation of Parkinson’s disease patients.

## Slide 7: Objectives
Automate the analysis of major factors in Parkinson’s disease i.e. gait and posture analysis for early diagnosis and assistance in rehabilitation by assessing real-time tracking of each body joint using IMU sensors.
1
Assess the motor dysfunction in patients based on the MDS-Unified Parkinson's disease rating scale to help boost the rehabilitation process.
2
Assist the doctors with continuous performance tracking and measuring the range and agility of each body joint in real-time
3

## Slide 8: Objectives
Identify delicate changes in the patient’s disorder progression, and to evaluate the efficiency of rehabilitation in a consistent way.
4
Provide a 3D virtual avatar to replicate the patient's body motion in real-time to give visual feedback.
5
Implement a cost-effective and efficient system.
6

## Slide 9: Related Work
sports performance analysis [1]
Motor Rehabilitation using Kinect [2]
Leap motion controlled video game-based therapy[3]
Rehabilitation assistance using Virtual Reality [4]
Kinect Based Exergames for Parkinson’s Patients [5]
Biofeedback for Neuromotor Rehabilitation [6]

## Slide 10: Problem Statement
Parkinson's disease is a nervous system disorder that affects the part of your brain that controls body movements. Its symptoms start slowly, sometimes are barely visible but worsen with time and can lead to severe motion impairments like rigid muscles, slow movement, and tremors, etc. Even though Parkinson's disease can't be cured, but exercises can improve the range of body movement a lot. According to Neurology Awareness & Research Foundation (NARF) Pakistan, a rough estimate is that 1 million Pakistanis suffer from Parkinson’s disease, moreover an estimated 10 million people worldwide have Parkinson’s disease.

## Slide 11: Challenges
Virtual Frame Filling
When we record animations as the data is gathered through wireless medium so some frames are not captured properly and need to be filled virtually after the recording while processing.
1
Data Collection
As the technology is new in this field so gathering a large amount of data to train and test machine learning algorithm is challenging as finding large number of patients for a substantial amount of time is difficult.
3
Height Profile
As height and body measurements of each individual vary so suit needs to be configured every time a new user uses it.
2

## Slide 12: System Design

## Slide 13: Hardware Used
Rokoko Smart suit Pro
01
WIFI Router
02

## Slide 14: Software & languages
Unity3d
For Software Development Frontend/backend.
Rokoko Studio
For Animation and Task Creation.
C#
Language used in Unity3D for software Development.
Python
For Machine learning Algorithm.

## Slide 15
19
1
100
Rokoko Smart suit Pro
19-DoF Inertial Measurement Unit Sensors
WIFI and USB 2.0 Communication Onboard memory Smart Hub
Up to 100 meters of wireless range

## Slide 16: Smart Suit Pro Connection/Configuration
First Step
Smart suit pro hub WIFI mode Connection with Dedicated WIFI Router
Second Step
Receiver Laptop/Pc Connection with the same dedicated WIFI Router
Third Step
Smart suit pro Configuration
Fourth Step
Creating a Data bridge connection between Receiver Laptop and Smart suit for Data transfer
01
02
03
04

## Slide 17: Model Calibration
First Step
A 3D Humanoid avatar is calibrated according to the user’s Height profile and body measurements
Second Step
The calibrated model is then Configured in T pose To get exact Posture.
Third Step
Current Position of the model is set as root position
Fourth Step
Model is Calibrated on the root position which will serve as the starting position and reference for getting motion data.
01
02
03
04

## Slide 18: Animation Recording
First Step
Healthy Person performs Exercises wearing the Smart Suit pro Configured/Calibrated Properly
Second Step
The motion data of that healthy person’s motion is collected and stored in a file
Third Step
That data is then processed and lost frames are filled virtually
Fourth Step
The processed data is imported in Unity 3D to create animation of Task which would be performed by Patient
01
02
03
04

## Slide 19: Realtime Task Performance
First Step
A unity plugin is made to get real time data from the smart suit pro
Second Step
Real time height profile of user is calibrated on a 3D avatar
Third Step
3D Avatar is placed is a task performing environment in unity 3D
Fourth Step
Realtime task is performed and motion data of that task is collected and stored in a file
01
02
03
04

## Slide 20: Comparison & Report Generation
First Step
Motion data of both Healthy person and patient are stored in one file
Second Step
Data of both the files is processed and made useable for the algorithm
Third Step
Mathematical Formulas are applied on the processed data and a detailed report is generated
Fourth Step
Detailed report of the patients body joints movement is fetched and displayed to the doctor to assess it and make further decisions
01
02
03
04

## Slide 23: Identification & Machine Learning
First Step
Time to time motion data of patients is collected and labeled for Classification
Second Step
Machine Learning Algorithm is trained on the classified data
Third Step
An AI model with be created for the assistance in identification of Parkinson’s disease
Fourth Step
The system will assist doctor in identification of Parkinson’s disease by assessing patients real time motion data
01
02
03
04

## Slide 24: Data Acquisition
Motion Data of a person wearing Rokoko Smartsuit Pro is collected Using IMU Sensors.
1
IMU sensors in the Smartsuit obtain Position, Rotation, Velocity and acceleration of the person with respect to some root position in 3 Dimensional Plane.
2

## Slide 25: Data Acquisition (cont.)
Motion Data of a person wearing Rokoko Smartsuit Pro is stored in the form of CSV.
1

## Slide 26: Data Preprocessing
Data Acquired Via smartsuit pro has some ambiguities .
So the data has to go under some preprocessing.
1

## Slide 27: Data Preprocessing(Cont.)
Preprocessed Data
1

## Slide 28: Model Training
Models Trained
Logistic Regression
Random Forest Classifier
Linear SVC
Bernoulli NB
1
Selected Model
“Random Forest”
Logistic Regression was overfitted as its accuracy score was high but it performed poorly in application phase so we used Random Forest.
2

## Slide 29: Results

## Slide 30: Authentication/Authorization
Signup
Doctor Sign Up, Doctor can sign up by putting his email and Password.
1

## Slide 31: Authentication/Authorization
Add Profile Info
After Sign up an add profile screen will appear where Doctor will add his profile Information.
1

## Slide 32: Authentication/Authorization
Login
A login screen for doctor where he/she would put their login credential to access the system
Forgot Password
A forgot Password button in case the doctor forgets his/her login credentials.
Create New
A create new profile button if the doctor is a new user and does not have a profile.
1
2
3

## Slide 33: Doctor Module
Dasboard
A dashboard panel where doctor would have a overall summary such as Total Number of Patients, number of appointments and Active appointments.
Sidebar
A side bar with all the quick access buttons of other panels
1
2

## Slide 34: Doctor Module
Patients List
A panel where doctor can see all of his patients in a list view from which he can select CRUD functions on selected patient.
Add New
An add new patient button for doctor to add a new patient.
1
2

## Slide 35: Doctor Module
Add Patient
An add patient screen Where doctor would add information about a new patient,
Task Management
Task management button to open task Plan for the patient screen.
1
2

## Slide 36: Doctor Module
View Patient
A view patient window where Doctor can see the profile of a patient and all his Information
Make Appointment
A make appointment button for adding new appointments.
1
2

## Slide 37: Doctor Module
Add Appointment
An add Appointment Window for doctor to add new Appointments.
1

## Slide 38: Rehabilitation Module
Start Task screen
A start task panel for doctor to Start Patients Task Selected from the patient’s task plan
Start Tutorial
Start Tutorial button for starting tutorial animation for patient to watch and learn
Home Button
A home button for going back to the patient management window
1
2


## Slide 39: Rehabilitation Module
Timer Window
A timer Window before the tasks starts so patient may get ready.
1

## Slide 40: Rehabilitation Module
Task Tutorial
Task tutorial for patient to watch and learn from it about performing the task
1

## Slide 41: Rehabilitation Module
View Panel
A view Task window where patients will see themselves performing the selected task
1

## Slide 42: Rehabilitation Module
Task Completed
A task Completion Panel which will show when patient completes the Task
Generate Report
Generate Report Button which will Generate A detailed Report of Patients Task performance.
Restart
A restart button to start the task again to perform it again.
1
2
3

## Slide 43: Report

## Slide 44: Work Distribution
Interface UI/UX & Frontend
01
Arslan Riaz
Backend & Database
02
Animation & Realtime motion Tracking
03
Comparison & Report Generation
04
Imtisal Ahmed
Arslan Riaz
Imtisal Ahmed

## Slide 45: Work In Progress
Identification Module
I dentification Module for the identification of Parkinson’s Disease
Patient Portal
A portal for patients to view their reports and rehabilitation progress.
1
2

## Slide 46: References
[1] “Motion capture systems to see how athletes’ body movements” from https://www.researchgate.net/publication/314879089_Application_of_motion_capture_technology_for_sport_performance_analysis accessed on 16 May 2020.
[2] “Intention to help in the engagement of patients on various therapies using Microsoft Kinect” from https://www.semanticscholar.org/paper/Motor-Rehabilitation-Using-Kinect%3A-A-Systematic-Gama-Fallavollita/90fe2333ff0fed80d342337f9c242bf5a81d9d2b, accessed on 16 May 2020.
[3] “Leap-motion based video game therapy for Parkinson`s patients” from https://www.researchgate.net/publication/281292319_A_Vision-Based_System_for_Movement_Analysis_in_Medical_Applications_The_Example_of_Parkinson_Disease , accessed on 16 May 2020.
[4] “Rehabilitation Assistance Using Motion Capture Devices and Virtual Reality Feedback” from https://www.scientific.net/AMM.888.37 , accessed on 16 May 2020.
[6] “Biofeedback for neuromotor rehabilitation” from https://jneuroengrehab.biomedcentral.com/articles/10.1186/1743-0003-3-11, accessed on 16 May 2020.
[5] “Kinect Based Exergames for Parkinson’s Patients” from https://www.hindawi.com/journals/ijcgt/2018/2618271/ , accessed on 16 May 2020.

## Slide 47
THANK YOU !